## raw_ocr
总计 | 5260.2 | 1727.1 | 3533.0 | 1659.1 | 35806.7 | 21563.9 | 14242.7
北京 | 14.0 | 0.7 | 13.3 | 2.9 | 93.7 | 5.1 | 88.6
天津 | 57.7 | 31.8 | 25.9 | 5.5 | 202.8 | 118.8 | 84.0
河北 | 752.2 | 252.9 | 499.3 | 400.4 | 3673.6 | 1916.8 | 1756.8
山西 | 115.4 | 51.2 | 64.2 | 51.2 | 1573.2 | 1153.6 | 419.6
山东 | 615.5 | 64.2 | 551.4 | 319.2 | 3958.9 | 1073.2 | 2885.8
内蒙古 | 41.2 | 29.8 | 11.4 | 4.0 | 1456.7 | 1343.3 | 113.4
辽宁 | 69.5 | 34.6 | 34.9 | 12.7 | 547.4 | 352.5 | 194.9
吉林 | 35.2 | 24.3 | 10.8 | 1.2 | 381.0 | 290.1 | 90.9
黑龙江 | 19.7 | 9.8 | 9.9 | 1.5 | 439.3 | 340.0 | 99.3
上海 | 11.4 | 0.0 | 11.4 | 0.8 | 179.8 | 24.0 | 155.8
江苏 | 360.8 | 10.0 | 350.8 | 76.5 | 2276.8 | 951.1 | 1325.7
浙江 | 502.4 | 15.6 | 486.7 | 7.5 | 2344.1 | 592.6 | 1751.5
安徽 | 315.6 | 108.2 | 207.4 | 140.8 | 2022.4 | 1057.1 | 965.3
福建 | 125.2 | 0.0 | 125.2 | 50.4 | 402.2 | 39.2 | 363.1
江西 | 168.5 | 86.6 | 82.0 | 47.8 | 1078.5 | 637.3 | 441.2
河南 | 540.5 | 3.0 | 537.5 | 444.5 | 2096.0 | 628.8 | 1467.2
湖北 | 180.6 | 130.3 | 50.2 | 12.9 | 1132.8 | 843.0 | 289.9
湖南 | 100.5 | 36.4 | 64.1 | 30.4 | 548.0 | 253.0 | 295.1
重庆 | 6.3 | 2.3 | 4.0 | 0.7 | 67.7 | 54.2 | 13.6
四川 | 8.6 | 4.1 | 4.5 | 1.7 | 204.4 | 173.0 | 31.4
陕西 | 106.1 | 17.1 | 89.0 | 12.6 | 1407.8 | 1107.9 | 299.9
甘肃 | 151.2 | 143.5 | 7.7 | 0.6 | 1275.4 | 1190.6 | 84.8
青海 | 88.4 | 85.7 | 2.6 | 0.1 | 1701.5 | 1685.9 | 15.6
宁夏 | 70.9 | 44.4 | 26.5 | 0.3 | 1443.7 | 1352.5 | 91.3
新疆 | 58.5 | 58.5 | 0.0 | 0.0 | 1326.9 | 1310.3 | 16.6
新疆兵团 | 0.0 | 0.0 | 0.0 | 0.0 | 77.2 | 77.2 | 0.0
广东 | 309.6 | 88.3 | 221.3 | 27.1 | 1329.7 | 609.8 | 719.9
广西 | 116.2 | 106.7 | 9.5 | 1.6 | 429.1 | 367.0 | 62.1
海南 | 77.2 | 57.7 | 19.6 | 1.1 | 223.7 | 184.7 | 39.0
贵州 | 198.3 | 194.0 | 4.3 | 0.3 | 1335.3 | 1311.6 | 23.7
云南 | 42.7 | 35.0 | 7.7 | 2.8 | 438.4 | 383.5 | 54.9

## header_check
col_position | ocr_header_flat | expected_cn | expected_en | friendly_en
1 | 省(区、市) | 省(区、市) | province_cn | Province (CN)
2 | 2022年前三季度新增并网容量 | 2022年前三季度新增并网容量 | new_capacity_total_10kw | New capacity total
3 | 2022年前三季度新增并网容量_其中：集中式光伏电站 | 2022年前三季度新增并网容量_其中：集中式光伏电站 | new_capacity_utility_10kw | New utility-scale
4 | 2022年前三季度新增并网容量_其中：分布式光伏 | 2022年前三季度新增并网容量_其中：分布式光伏 | new_capacity_distributed_10kw | New distributed
5 | 2022年前三季度新增并网容量_其中：户用光伏 | 2022年前三季度新增并网容量_其中：户用光伏 | new_capacity_residential_10kw | New residential
6 | 截至2022年9月底累计并网容量 | 截至2022年9月底累计并网容量 | cum_capacity_total_10kw | Cumulative total
7 | 截至2022年9月底累计并网容量_其中：集中式光伏电站 | 截至2022年9月底累计并网容量_其中：集中式光伏电站 | cum_capacity_utility_10kw | Cumulative utility-scale
8 | 截至2022年9月底累计并网容量_其中：分布式光伏 | 截至2022年9月底累计并网容量_其中：分布式光伏 | cum_capacity_distributed_10kw | Cumulative distributed
9 | 截至2022年9月底累计并网容量_其中：户用光伏 | 截至2022年9月底累计并网容量_其中：户用光伏 | cum_capacity_residential_10kw | Cumulative residential

## clean
province_cn | province_en | new_capacity_total_10kw | new_capacity_utility_10kw | new_capacity_distributed_10kw | new_capacity_residential_10kw | cum_capacity_total_10kw | cum_capacity_utility_10kw | cum_capacity_distributed_10kw | cum_capacity_residential_10kw | province_translation_missing
总计 | Total | 5260.2 | 1727.1 | 3533 | 1659.1 | 35806.7 | 21563.9 | 14242.7 |  | FALSE
北京 | Beijing | 14 | 0.7 | 13.3 | 2.9 | 93.7 | 5.1 | 88.6 |  | FALSE
天津 | Tianjin | 57.7 | 31.8 | 25.9 | 5.5 | 202.8 | 118.8 | 84 |  | FALSE
河北 | Hebei | 752.2 | 252.9 | 499.3 | 400.4 | 3673.6 | 1916.8 | 1756.8 |  | FALSE
山西 | Shanxi | 115.4 | 51.2 | 64.2 | 51.2 | 1573.2 | 1153.6 | 419.6 |  | FALSE
山东 | Shandong | 615.5 | 64.2 | 551.4 | 319.2 | 3958.9 | 1073.2 | 2885.8 |  | FALSE
内蒙古 | Inner Mongolia | 41.2 | 29.8 | 11.4 | 4 | 1456.7 | 1343.3 | 113.4 |  | FALSE
辽宁 | Liaoning | 69.5 | 34.6 | 34.9 | 12.7 | 547.4 | 352.5 | 194.9 |  | FALSE
吉林 | Jilin | 35.2 | 24.3 | 10.8 | 1.2 | 381 | 290.1 | 90.9 |  | FALSE
黑龙江 | Heilongjiang | 19.7 | 9.8 | 9.9 | 1.5 | 439.3 | 340 | 99.3 |  | FALSE
上海 | Shanghai | 11.4 | 0 | 11.4 | 0.8 | 179.8 | 24 | 155.8 |  | FALSE
江苏 | Jiangsu | 360.8 | 10 | 350.8 | 76.5 | 2276.8 | 951.1 | 1325.7 |  | FALSE
浙江 | Zhejiang | 502.4 | 15.6 | 486.7 | 7.5 | 2344.1 | 592.6 | 1751.5 |  | FALSE
安徽 | Anhui | 315.6 | 108.2 | 207.4 | 140.8 | 2022.4 | 1057.1 | 965.3 |  | FALSE
福建 | Fujian | 125.2 | 0 | 125.2 | 50.4 | 402.2 | 39.2 | 363.1 |  | FALSE
江西 | Jiangxi | 168.5 | 86.6 | 82 | 47.8 | 1078.5 | 637.3 | 441.2 |  | FALSE
河南 | Henan | 540.5 | 3 | 537.5 | 444.5 | 2096 | 628.8 | 1467.2 |  | FALSE
湖北 | Hubei | 180.6 | 130.3 | 50.2 | 12.9 | 1132.8 | 843 | 289.9 |  | FALSE
湖南 | Hunan | 100.5 | 36.4 | 64.1 | 30.4 | 548 | 253 | 295.1 |  | FALSE
重庆 | Chongqing | 6.3 | 2.3 | 4 | 0.7 | 67.7 | 54.2 | 13.6 |  | FALSE
四川 | Sichuan | 8.6 | 4.1 | 4.5 | 1.7 | 204.4 | 173 | 31.4 |  | FALSE
陕西 | Shaanxi | 106.1 | 17.1 | 89 | 12.6 | 1407.8 | 1107.9 | 299.9 |  | FALSE
甘肃 | Gansu | 151.2 | 143.5 | 7.7 | 0.6 | 1275.4 | 1190.6 | 84.8 |  | FALSE
青海 | Qinghai | 88.4 | 85.7 | 2.6 | 0.1 | 1701.5 | 1685.9 | 15.6 |  | FALSE
宁夏 | Ningxia | 70.9 | 44.4 | 26.5 | 0.3 | 1443.7 | 1352.5 | 91.3 |  | FALSE
新疆 | Xinjiang | 58.5 | 58.5 | 0 | 0 | 1326.9 | 1310.3 | 16.6 |  | FALSE
新疆兵团 | Xinjiang Production and Construction Corps | 0 | 0 | 0 | 0 | 77.2 | 77.2 | 0 |  | FALSE
广东 | Guangdong | 309.6 | 88.3 | 221.3 | 27.1 | 1329.7 | 609.8 | 719.9 |  | FALSE
广西 | Guangxi | 116.2 | 106.7 | 9.5 | 1.6 | 429.1 | 367 | 62.1 |  | FALSE
海南 | Hainan | 77.2 | 57.7 | 19.6 | 1.1 | 223.7 | 184.7 | 39 |  | FALSE
贵州 | Guizhou | 198.3 | 194 | 4.3 | 0.3 | 1335.3 | 1311.6 | 23.7 |  | FALSE
云南 | Yunnan | 42.7 | 35 | 7.7 | 2.8 | 438.4 | 383.5 | 54.9 |  | FALSE

## clean_review
province_cn | province_en | new_capacity_total_10kw | new_capacity_utility_10kw | new_capacity_distributed_10kw | new_capacity_residential_10kw | cum_capacity_total_10kw | cum_capacity_utility_10kw | cum_capacity_distributed_10kw | cum_capacity_residential_10kw | province_translation_missing
Province (raw OCR CN) | Province (EN translation) | New capacity total | New utility-scale | New distributed | New residential | Cumulative total | Cumulative utility-scale | Cumulative distributed | Cumulative residential | Translation missing?
省(区、市) | 英文省名 | 2022年前三季度新增并网容量 | 2022年前三季度新增并网容量_其中：集中式光伏电站 | 2022年前三季度新增并网容量_其中：分布式光伏 | 2022年前三季度新增并网容量_其中：户用光伏 | 截至2022年9月底累计并网容量 | 截至2022年9月底累计并网容量_其中：集中式光伏电站 | 截至2022年9月底累计并网容量_其中：分布式光伏 | 截至2022年9月底累计并网容量_其中：户用光伏 | 英文翻译缺失？
总计 | Total | 5260.2 | 1727.1 | 3533 | 1659.1 | 35806.7 | 21563.9 | 14242.7 |  | FALSE
北京 | Beijing | 14 | 0.7 | 13.3 | 2.9 | 93.7 | 5.1 | 88.6 |  | FALSE
天津 | Tianjin | 57.7 | 31.8 | 25.9 | 5.5 | 202.8 | 118.8 | 84 |  | FALSE
河北 | Hebei | 752.2 | 252.9 | 499.3 | 400.4 | 3673.6 | 1916.8 | 1756.8 |  | FALSE
山西 | Shanxi | 115.4 | 51.2 | 64.2 | 51.2 | 1573.2 | 1153.6 | 419.6 |  | FALSE
山东 | Shandong | 615.5 | 64.2 | 551.4 | 319.2 | 3958.9 | 1073.2 | 2885.8 |  | FALSE
内蒙古 | Inner Mongolia | 41.2 | 29.8 | 11.4 | 4 | 1456.7 | 1343.3 | 113.4 |  | FALSE
辽宁 | Liaoning | 69.5 | 34.6 | 34.9 | 12.7 | 547.4 | 352.5 | 194.9 |  | FALSE
吉林 | Jilin | 35.2 | 24.3 | 10.8 | 1.2 | 381 | 290.1 | 90.9 |  | FALSE
黑龙江 | Heilongjiang | 19.7 | 9.8 | 9.9 | 1.5 | 439.3 | 340 | 99.3 |  | FALSE
上海 | Shanghai | 11.4 | 0 | 11.4 | 0.8 | 179.8 | 24 | 155.8 |  | FALSE
江苏 | Jiangsu | 360.8 | 10 | 350.8 | 76.5 | 2276.8 | 951.1 | 1325.7 |  | FALSE
浙江 | Zhejiang | 502.4 | 15.6 | 486.7 | 7.5 | 2344.1 | 592.6 | 1751.5 |  | FALSE
安徽 | Anhui | 315.6 | 108.2 | 207.4 | 140.8 | 2022.4 | 1057.1 | 965.3 |  | FALSE
福建 | Fujian | 125.2 | 0 | 125.2 | 50.4 | 402.2 | 39.2 | 363.1 |  | FALSE
江西 | Jiangxi | 168.5 | 86.6 | 82 | 47.8 | 1078.5 | 637.3 | 441.2 |  | FALSE
河南 | Henan | 540.5 | 3 | 537.5 | 444.5 | 2096 | 628.8 | 1467.2 |  | FALSE
湖北 | Hubei | 180.6 | 130.3 | 50.2 | 12.9 | 1132.8 | 843 | 289.9 |  | FALSE
湖南 | Hunan | 100.5 | 36.4 | 64.1 | 30.4 | 548 | 253 | 295.1 |  | FALSE
重庆 | Chongqing | 6.3 | 2.3 | 4 | 0.7 | 67.7 | 54.2 | 13.6 |  | FALSE
四川 | Sichuan | 8.6 | 4.1 | 4.5 | 1.7 | 204.4 | 173 | 31.4 |  | FALSE
陕西 | Shaanxi | 106.1 | 17.1 | 89 | 12.6 | 1407.8 | 1107.9 | 299.9 |  | FALSE
甘肃 | Gansu | 151.2 | 143.5 | 7.7 | 0.6 | 1275.4 | 1190.6 | 84.8 |  | FALSE
青海 | Qinghai | 88.4 | 85.7 | 2.6 | 0.1 | 1701.5 | 1685.9 | 15.6 |  | FALSE
宁夏 | Ningxia | 70.9 | 44.4 | 26.5 | 0.3 | 1443.7 | 1352.5 | 91.3 |  | FALSE
新疆 | Xinjiang | 58.5 | 58.5 | 0 | 0 | 1326.9 | 1310.3 | 16.6 |  | FALSE
新疆兵团 | Xinjiang Production and Construction Corps | 0 | 0 | 0 | 0 | 77.2 | 77.2 | 0 |  | FALSE
广东 | Guangdong | 309.6 | 88.3 | 221.3 | 27.1 | 1329.7 | 609.8 | 719.9 |  | FALSE
广西 | Guangxi | 116.2 | 106.7 | 9.5 | 1.6 | 429.1 | 367 | 62.1 |  | FALSE
海南 | Hainan | 77.2 | 57.7 | 19.6 | 1.1 | 223.7 | 184.7 | 39 |  | FALSE
贵州 | Guizhou | 198.3 | 194 | 4.3 | 0.3 | 1335.3 | 1311.6 | 23.7 |  | FALSE
云南 | Yunnan | 42.7 | 35 | 7.7 | 2.8 | 438.4 | 383.5 | 54.9 |  | FALSE